## Slide 1
Constraints on Methane Emissions from California’s Central Valley using CalNex WP-3 Aircraft Data and a Lagrangian Transport Model
CO2
CO
CH4
N2O
Gregory Santoni1, Bin Xiang1, Eric Kort1, Bruce Daube1, Roisin Commane1, Elaine Gottlieb1, Jeff Peischle2, John Holloway2, Tom Ryerson2, Michael Trainer2, Thomas Nehrkorn2, Wayne Angevine2, Steven Wofsy1
1 - Harvard University, School of Engineering and Applied Sciences and Department of Earth and Planetary Sciences, Cambridge, Ma, U.S.A.
2 – National Ocean and Atmospheric Administration

## Slide 2
QCL Spectrometer: CO2
Rodrigo Jimenez
Sunyoung Park
Bruce Daube
J. Barry McManus
David D. Nelson
Mark S. Zahniser
CO2: 1σ = 20 ppb

## Slide 3
QCL Spectrometer: Dual
Rodrigo Jimenez
Sunyoung Park
Bruce Daube
J. Barry McManus
David D. Nelson
Mark S. Zahniser
CH4: 1σ = 0.5 ppb
N2O: 1σ = 0.09 ppb
CO: 1σ = 0.2 ppb

## Slide 4: QCLS Final QA/QC vs. RA Data

## Slide 5
Instrument Intercomparison: CO2
Picarro CRDS vs. QCLS CO2
Jeff Peischl
Tom Ryerson
}
Median Difference
0.05 ppm

## Slide 6
Instrument Intercomparison: CH4
Picarro CRDS
Jeff Peischl
Tom Ryerson
Median Difference
6.3 ppb
Counts

## Slide 7
Instrument Intercomparison: CO
Vacuum UV
John Holloway
Median Difference
0.02 ppb
Counts

## Slide 8
Central Valley Vertical Profiles
Altitude (m)
UTC
05/12/2010
UTC
Altitude (m)
06/18/2010

## Slide 9
CH4 Profiles
05/12/2010
06/18/2010

## Slide 10
Stochastic Time-Inverted Lagrangian Transport model
  Receptor-oriented time-inverted model
WRF Meteorological model output drives transport
Wayne Angevine
Modeling Framework
Notes: Particles as little AIR PARCELS
Contrast GRIDCELL vs Lagrangian approaches: Particle locations are independent of gridcells and can be subgridscale—avoids gridcells
Run BACKWARD in time: Pioneered by people like Marek and Roger

## Slide 11
Particles tell where air is arriving from and link observations with upstream sources/sinks
Modeled surface fluxes, emission inventories, chemistry, and boundary conditions determine concentrations of air encountered
Modeling Framework

## Slide 12
From Trajectories to Footprints
LAT
LON
ppb/μmol/m2s

## Slide 13
Footprints for 06/18 Profile
{
{
{

## Slide 14
Emission Inventories
Emission Inventory * Footprint + B.C. = Observed Mixing Ratio
μmol/m2s
μmol/m2s
EDGAR: Emissions Database for Global Atmospheric Research.
Total Anthro annual CH4 emissions
1° x 1° resolution
Jed Kaplan’s wetlands
May
1/4° x 1/6° resolution

## Slide 15
Modeled Profiles

## Slide 16
Conclusions/Future Work
Need for finer resolution inventories
- both point and area sources (these exist)
Appropriate boundary conditions
- difficult in California
100+ profiles outside of L.A. basin during
~50 flight hours
Inversions onto a priori emission inventories
Comparisons to Flexpart
From Zhao et al. (2009)
Acknowlegdements
WP-3 Flight Crew, NOAA instrument teams, John Lin, Christoph Gerbig, NSF Graduate Research Fellowship
gsantoni@gmail.com

## Slide 19: Calibration

## Slide 20
WRF domains

## Slide 21
June 18th, 2010 Time Series

## Slide 22
Central Valley CH4 June 18th, 2010