## Slide 1
CalNex 2010
ARL/ATDD Energy Balance Observations
Program Element: Spatial Variability in
Standard Meteorological and
Flux Parameters
Grid-to-grid variability
Within grid variability

## Slide 3
ATDD
E-Balance
Instrumentation
R.M. Young Model 05103 Wind Monitor | Mean Wind Speed, Mean Wind Direction, Sigma Theta, Sigma_ws
CS500 Temperature and Relative Humidity- Naturally Aspirated | Mean Temperature, Sigma_T,Relative Humidity
Dialight Obstruction Light – model 8600-1R03 | 
Forespar Model 151100 Lightning Master Strike protector | 
IRTS-P Precision Infrared Temperature- Rotating 20o, 40o arcs | Mean Surface Temperature
LiCor LI7500 Open Path Infrared Gas Analyzer | CO2, H20, CO2 flux, H20 flux
Kipp and Zonen SP Lite Silicon Pyrnameter | Solar Radiation
Met One Motor Aspirated Temperature Shiled Model 076B/7308 with 3 PRT’s (2 and 10 meters) | Mean Temperature, Sigma_T
ATDD Custom 1-Meter Soil Temperature Probe | Soil Temperature (2,5,10,50,100 cm)
2B Technologies Ozone Monitor | Ozone
ATDD Fast Response Ozone Monitor | Ozone Flux
ATDD Denuder System | S02, HNO3, NO3, SO4,, Na, Cl
Kipp and Zonen 4-Wave Net Radiometer | Global In, Global Out, Longwave in, Longwave Out
R.M. Young Model 81000 VRE Ultrasonic Anemometer (3 and 10 meter) | U,V,W,Sigma_u, Sigma_v, Sigma_w, Temperature, Sigma_T, uw, uT, uw , (unrotated, rotated)

## Slide 4
California Air Monitoring
SO2
Ameriflux
NO2
PM2.5
Ozone

## Slide 5
Potential Model Grid
SO2
Ameriflux
NO2
PM2.5
Ozone